CHECKLIST FOR HUMANITARIAN USE DEVICE: EMERGENCY USE

Emergency Use Situations

If a physician in an emergency situation determines that IRB approval for the use of an HUD cannot be obtained in time to prevent serious harm or death to a patient, a HUD may be used within the scope of its labeling or off-label without prior IRB approval. Emergency use situations are those in which:

 The patient has a life-threatening condition that needs immediate treatment;

 No generally acceptable alternative treatment for the condition exists; and

 Because of the immediate need to use the device, there is no time to use existing FDA approval procedures for the use.

Whenever possible, physicians should follow certain patient protection measures (i.e., concurrence of the IRB chairperson, informed consent, independent assessment by an uninvolved physician). Physicians must obtain authorization of the HDE holder and, whenever possible, complete and submit the Expanded Access Medical Devices Form to the Carilion IRB Office for concurrence of the IRB chairperson. When time is limited, the physician may contact an IRB chairperson by phone to discuss the emergency situation. Within five (5) days of the emergency use, the physician must report the emergency use in writing to the IRB chairperson using the Expanded Access form.

HUD EMERGENCY USE CHECKLIST

Physician responsibilities prior to emergency HUD use

 Determine if the proposed use meets the regulatory definition for emergency use (see above).

Complete as many of the following patient protection measures as possible:

 Obtain an independent assessment by an uninvolved physician (i.e., not the referring physician)

 Obtain authorization of the HDE holder to use the HUD in the emergency situation.

 Obtain concurrence of the IRB chairperson for the emergency use. Complete Expanded Access Medical Device Form and contact the Carilion IRB Office, 540-853-0728.

 Obtain informed consent of the patient or his/her legally authorized representative OR, if informed consent cannot be obtained because of an inability to communicate with or obtain legally effective consent form the patient or legally authorized representative, written certification of an uninvolved physician that the conditions warrant emergency use and informed consent cannot be obtained for the aforementioned reasons.

 Obtain applicable institutional clearances for HUD use; for example, electrical safety clearance from Biomedical Engineering or clearance from the Director of the Operating Room

Physician responsibilities following  emergency HUD use

 Within 5 days after the emergency use of the HUD, provide written notification to the IRB

chairperson of the emergency use, which shall include identification of the patient involved, the

date of the use, and the reason for the use (21 CFR 814.124).

 Submit a follow-up report on the patient’s condition and information regarding the patient

protection measures to the HDE holder, who would then submit this information as a HDE report to the FDA.

 Devise a schedule for monitoring the patient, taking into account the specific needs of the patient and the limited information available about the risks and benefits of the device.

 Report to the HDE holder/FDA and to the IRB whenever a HUD may have caused or contributed to a death or serious injury, or has malfunctioned and would be likely to cause or contribute to a death or serious injury if the malfunction were to recur (21 CFR 814.126(a)).

HDE Holder responsibilities

 Authorize access of HUD to the physician prior to the emergency.

 Report emergency use to FDA, as required by 21 CFR 814.126(b)(1)(iii).

CHECKLIST FOR HUMANITARIAN USE DEVICE: OFF-LABEL (COMPASSIONATE) USE

Off-Label or Compassionate Use Situations

If a physician in a non-emergent situation determines that there is no alternative device for the patient’s condition, the HUD may be used off-label in a compassionate use situation. The Carilion IRB should be notified of the off-label or compassionate use. Follow the procedures outlined below.

HUD OFF-LABEL/COMPASSIONATE USE CHECKLIST

Physician responsibilities involving off-label/compassionate HUD use

 Determine that there is no alternative device for the patient’s condition.

 Obtain informed consent of the patient or his/her legally authorized representative.

 Submit a follow-up report on the patient’s condition to the HDE holder

 Notify the IRB about the proposed off-label use. This notification must be received within seven working days of the use. It should include the circumstances necessitating use of the device and the reasons why alternative therapies or diagnostics were unsatisfactory. It should also contain a plan  for monitoring the patient for any adverse effects.

 Report to the HDE holder and to the IRB whenever a HUD may have caused or contributed

to a death or serious injury, or has malfunctioned and would be likely to cause or contribute to a

death or serious injury if the malfunction were to recur (21 CFR 814.126(a))